## StormChamber System Calculator
DESIGN CALCULATOR | [36 empty] | NOTES |  |  |  | note: Calculations assume both end rows have the max number of chambers per row due to these rows having the least stone storage space. |  |  |  |  | note: Calculations assume chambers will be distributed between rows as evenly as possible. |  |  |  | not: F49 is the number of rows | [5 empty] | layer constraint dimension | 1st layer | 2nd layer | 3rd layer | 4th layer | do constraints apply? (yes=1,no=2) | max/min suggested number of rows for bottom layer
[39 empty] | 55.7743 | [7 empty] | bottom layer constraint direction |  |  | note: F9 is unit type | [5 empty] | width is 1 length is 2 | 1 | 0 | 0 | 0 | 2 | 1
[39 empty] | 42.8153 | [7 empty] | 1 |  |  | note: F11 is required storage
[39 empty] | 1 row 1 chamber system |  |  | 2 rows 2 chambers, 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | note: F25 is direction of constraint (W or L) |  |  |  |  | Layer 1 Calculation check
[39 empty] | chamber length |  | 101 | full chamber length |  |  | 101 | single chamber length |  | 96 | stone storage | note: F27 is dimension of constraint
| Project Name: |  | MY PROJECT | [10 empty] | For more information visit ndspro.com, or if you need help call us at 571-521-9538 | [40 empty] | (Using Dimension Constraints)
|  | Engineer: | [36 empty] | full chamber volume |  | 23.64 | volume of both chambers |  |  | 47.28 | volume of both chambers |  | 44.94 | 25.0718 | Confirming System Calculations | [13 empty] | width of suggested rows | length of sugested number of C per R
|  | Location: | [13 empty] | CLICK HERE FOR DEIGN HELP OR TO REQUEST A LAYOUT | [38 empty] | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Width) | (Constraint Width-2endR Width)/midR Width |  | RoundDown for Maximum Number of midR |  | Max suggested Number of Rows by constraint | 0
|  | Date: | [35 empty] | L1 | stone storage |  | 32.1343 | stone storage |  |  | 64.2686 | End C End R storage volume w/ stone (2x) |  | 61.524 | additional stone | Imperial (inches and ft) | by system width
[50 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 5.1667 | N/A
[39 empty] | Additional stone Storage |  | 12.2292 | Additional stone Storage |  |  | 8.8333 | Additional stone Storage |  | 13.5 | 3.6667
| ENTER SYSTEM PARAMETERS | [7 empty] | SYSTEM RESULTS | [18 empty] | SYSTEM RESULTS | [26 empty] | 50 | 86400 | 12 | 0.86364 |  | 0 |  | 1 | 1
[39 empty] | total storage |  | 68.0034 | total storage |  |  | 120.3819 | total storage |  | 119.964 | total storage |  | 1 | 44.3634 | 23.64 | 68.0034
[50 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
|  | Measurement Type |  |  |  | Imperial | [26 empty] | Total Chamber Storage Volume | 23.64 |  | Cubic Feet | [12 empty] | 52.3784
purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
|  | Input Storage Volume |  |  |  | 50 |  | ft³ | [24 empty] | Total Stone Storage Volume | 44.3634 |  | Cubic Feet |  | L2 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R |  | 0 | 0 | 0 | 0
[49 empty] | stone storage | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
|  | Select the Chamber Model |  |  |  | SC-18 | [26 empty] | Installed System Storage Volume | 68.0034 |  | Cubic Feet |  |  | End C End R storage volume w/ stone |  | -9.456 | End C End R storage volume w/ stone |  |  | -18.912 | End C End R storage volume w/ stone |  | 26.964 | -9.456
[55 empty] | 0 | 0 |  | 0 | 0
[33 empty] | Minimum Internal Storage of a Chamber | 21.36 |  | Cubic Feet |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | additional stone |  | 0 | 0 | 0 | 0
[24 empty] | ft | [25 empty] | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
|  | Select Design Constraint |  |  |  | Width |  |  |  |  | 12 | in | [10 empty] | 2.5 |  |  | 3.5 | ft | [5 empty] | Minimum Installed Storage with stone | 40.6979 |  | Cubic Feet |  |  | total storage |  | 14.184 | total storage |  |  | 28.368 | total storage |  | 26.964 | 0
[55 empty] | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows
| Design Constraint Dimension |  |  |  |  | 12 |  | ft |  |  | 6 | [11 empty] | System Depth |  |  | Trench Depth | [6 empty] | Total Number of Chambers Required | 1 | [14 empty] | total storage |  | 0 | 0 | 0 | 0
[12 empty] | in | [50 empty] | Suggested
| Stone Above Chambers (min. 6 inches; max. 192 inches) |  |  |  |  | 6 |  | in | [20 empty] | Try adjusting the number of rows until you are satisfied with the layout. | [19 empty] | 14.184 | totals | 1 | 44.3634 | 23.64 | 68.0034
[55 empty] | 50 | 1 | 1 | 0 | 68.0034 |  | 0 |  | Maximum Number of Rows |  | N/A
|  | Stone Below Chambers (min. 6 inches) |  |  |  | 6 |  | in |  |  | SC-18 | [17 empty] | SYSTEM LAYOUT | [8 empty] | L3 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R
[10 empty] | Chamber Height | [44 empty] | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
| Total Cover Over Chambers (min. 18 inches; max. 192 inches) |  |  |  |  | 18 |  | in | [20 empty] | Layer Length | 10.4167 | ft | Rows/Chambers | 1 | Row(s) of | 1 | Chambers |  |  | End C End R storage volume w/ stone |  | -9.456 | End C End R storage volume w/ stone |  |  | -18.912 | End C End R storage volume w/ stone |  | 26.964 | stone storage | Min suggested number of rows |  |  |  | 1
[63 empty] | 1 |  | 0
|  | Stone Void (Industry Standard is 40%) |  |  |  | 40 |  | % |  |  | 6 | in | [9 empty] | 5.1667 |  | ft |  |  |  |  | Layer Width | 5.1667 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | -9.456 | Chosen number of rows |  |  |  | 1
[22 empty] | Minimum Trench Width | [34 empty] | 1 | 0 |  | 1 |  |  | Actual
[29 empty] | Layer Depth | 2.5 | ft | Layer Installed Storage |  | 68.0034 |  | Cubic Feet |  |  | total storage |  | 14.184 | total storage |  |  | 28.368 | total storage |  | 26.964 | additional stone | Max number of chambers per Row |  |  |  | 1
[55 empty] | Volume of full end Row | Volume of Full Mid Row | Number of full rows | Number of full middle rows |  |  |  |  | Number of Rows |  | Number of Chambers per Full Row
|  | Desired Number of Layers |  |  |  | 1 | [7 empty] | 10.4167 |  |  | ft | Minimum Trench Length | [13 empty] | Total Chambers in Layer |  | 1 | [14 empty] | 0 | Number of Full Rows |  |  |  | 0
|  | Space Between each Layer (min. 12 Inches) |  |  |  | 12 |  | in | [40 empty] | total storage | Are there Rows with more chambers than other rows |  |  |  | no
[55 empty] | 68.0034 | 0 | 1 | 0 |  |  |  |  | 1 |  | 1
|  | Number of Rows Desired |  |  |  | 1 | [22 empty] | NO LAYER | [19 empty] | 14.184 | Total Layer Storage Volume |  |  |  | 68.0034
[55 empty] | Remaining Volume for Partial Row | Number of Partial Row End Chambers | Number of Partial Row Middle Chambers | Total Number of Chambers per Partial Row |  |  |  |  | Number of Full Rows |  | N/A
| Maximum Number of Rows Based on Constraint Dimension |  |  |  |  | 1 | [10 empty] | Total Chamber Storage Volume |  | 23.64 |  | Cubic Feet | [7 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  | L4 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | Length of chamber row |  |  |  | 10.4167
|  | Space Between Each Row (min. 6 inches) |  |  |  | 6 |  | in | [8 empty] | Total Stone Storage Volume |  | 44.3634 |  | Cubic Feet | [7 empty] | Layer Width | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | End C End R storage volume w/ stone |  | -9.456 | End C End R storage volume w/ stone |  |  | -18.912 | End C End R storage volume w/ stone |  | 26.964 | stone storage | Width of all chamber rows |  |  |  | 5.1667
[55 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 1 |  | 0
|  | Number of SedimenTraps Desired |  |  |  | 0 | [10 empty] | Installed System Storage Volume |  | 68.0034 |  | Cubic Feet | [7 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Feet |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | -9.456 | Total Stone Storage | 44.3634 | Total Chamber Storage |  | 23.64
|  | Minimum Suggested Number of SedimenTraps (per inflow row) |  |  |  | 1 | [10 empty] | Minimum Internal Storage of a Chamber |  | 21.36 |  | Cubic Feet | [10 empty] | Total Chambers in Layer |  | 0 |  |  |  |  | total storage |  | 14.184 | total storage |  |  | 28.368 | total storage |  | 26.964 | additional stone | 0
[55 empty] | Number of mid Chambers per short row | Total number of chambers per short row | Volume of end chambers in all Rs by min C per R | volume of mid chambers in all Rs by min C per R | total volume of all Rs by the min number of chambers per Row |  | remaining volume
|  | Do you need impervious liner to restrict infiltration? |  |  |  | yes | [10 empty] | Minimum Installed Storage with stone |  | 40.6979 |  | Cubic Feet | [19 empty] | Installed Storage of S/E C in MR w/out border | border storage in S/E C in MR | [6 empty] | 0 | total chambers |  |  |  | 1
|  | Number of Inflow Rows |  |  |  | 1 | [10 empty] | Total Number of Chambers Required |  | 1 |  | Total # | [7 empty] | NO LAYER | [19 empty] | total storage
[55 empty] | 0 | 1 | 68.0034 | 0 | 68.0034 |  | 0
|  |  |  | Perimeter stone border size 12 Inches |  | 12 |  | in | [20 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  | Imperial |  | 179.84 | 42.8153 | 3.6667 | 2.4583 | 5 | 4.7526 |  |  | 46.4011 | 14.184 | eCeR storage volume area of width-height |  |  | 851.712
[55 empty] | number of end rows in remaining volume | Number of middle rows in remaining volume
| Do you want to Include the Perimeter Stone Storage when Calculating the number of chambers? |  |  |  |  | yes | [19 empty] | 0 |  |  | Layer Width | 0 | ft | No rows in this layer are shorter or longer than any other rows. | [5 empty] | All Chamber Layers |  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | eCeR Storage volume area of length-height |  |  | 1735.5641 |  |  |  | max number of rows | 1 | aka chosen number of rows
[40 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
[29 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Feet |  | SC-18 | [11 empty] | eCmR storage volume area of width-height |  |  | 743.712 |  |  |  | number of extra Ch | 0 | aka number of rows with max number of chambers
[55 empty] | 0 | 0
|  | Trench depths beyond the range suggested may be achievable. For assistance please contact us at (888) 825-4716. | [8 empty] | 18 | Inches | [19 empty] | Total Chamber in Layer |  | 0 |  |  |  |  | Height (in) | 18 | 30 | 30 |  |  | 18 | 30 | 30 |  |  | eCmR Storage volume area of length-height |  |  | 1825.4749 |  |  |  | number of short rows | 0 |  | -100.4063
[39 empty] | Width (in) | 38 | 53 | 44 |  |  | 38 | 53 | 44 | [9 empty] | min C per row | 0 |  | -2.4671
[29 empty] | NO LAYER | [9 empty] | Installed Length (in) | 96 | 108 | 108 |  |  | 91.25 | 91.25 | 91.25 |  |  | mCeR storage volume area of width-height |  |  | 878.6964 |  |  |  | max C per row | 1
[29 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | Storage Volume (ft²) | 22.47 | 30.762 | 24.012 | 53.232 | 46.482 | 21.36 | 25.0411 | 19.3379 | 46.4011 | 40.6979 | mCeR storage volume area of length-height |  |  | 1512.85
[29 empty] | Layer Width | 0 | ft | No rows in this layer are shorter or longer than any other rows. | [5 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 171720 | 142560 | 0.53567 | 0.56342 |  | 145087.5 | 120450 | 0.55264 | 0.58386 | mCmR storage volume area of width-height |  |  | 770.6964
|  | The Input Number of SedimenTraps does not match the Suggested Number of SedimenTraps. Not using the suggested number could result in Calculation Errors. | [13 empty] | 6 | Inches
[22 empty] | 24 Inches | [6 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Meters |  |  |  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | mCmR storage volume area of length-height |  |  | 1598.3193
[40 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
[32 empty] | Total Chamber in Layer |  | 0
[25 empty] | 47 Inches | [13 empty] | Height (in) | 18 | 0 | 0 |  |  | 18 | 0 | 0 |  |  | Imperial (inches and ft) | by system width |  |  |  | Layer 2 Calculation check
[15 empty] | Minimum Trench Length |  |  | 10.4167 |  | ft | [12 empty] | Minimum Trench Length | 10.4167 |  | ft |  |  | Width (in) | 38 | 53 | 44 |  |  | 38 | 53 | 44 |  |  | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | (Using Dimension Constraints)
[64 empty] | width of suggested rows | length of sugested number of C per R
[15 empty] | Minimum Trench Width |  |  | 5.1667 |  | ft | [12 empty] | Minimum Trench Width | 5.1667 |  | ft |  |  | Installed Length (in) | 96 | 108 | 108 |  |  | 91.25 | 91.25 | 91.25 |  |  |  | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
[50 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 5.1667 | 10.4167
[15 empty] | System Depth |  |  | 2.5 |  | ft | [12 empty] | System Depth | 2.5 |  | ft |  |  | Storage Volume (ft²) | 22.47 | -8.988 | -8.988 | 13.482 | 13.482 | 21.36 | -8.544 | -8.544 | 12.816 | 12.816 | [5 empty] | 0 | 0 | 0 | -2.3671 |  | 0 |  | 1
[15 empty] | Trench Depth |  |  | 3.5 |  | ft | [12 empty] | Trench Depth | 3.5 |  | ft | [14 empty] | 0 | 0 | 0 | 0
[15 empty] | Minimum Bed Size Required |  |  | 53.8194 |  | Square Feet | [12 empty] | Minimum Bed Size Required | 53.8194 |  | Square Feet |  | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
[9 empty] | OTHER SYSTEM COMPONENTS | [18 empty] | OTHER SYSTEM COMPONENTS | [11 empty] | Start and End Chamber |  |  |  |  | Middle Chamber | [5 empty] | 0 | 0 | 0 | 0 | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
[40 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total
[15 empty] | Minimum Amount of Stone Required |  | 4.1077 |  |  | Cubic Yards | 3/4" - 2" crushed, washed, ANGULAR stone. | [11 empty] | Minimum Amount of Stone Required | 4.1077 |  | Cubic Yards | [14 empty] | 0 | 0 | 0 | 0 | 14.184 | 0 |  | 1 | 1
[15 empty] | Volume of Excavation (not including fill) |  | 4.9833 |  |  | Cubic Yards | [10 empty] | (3/4" - 2" crushed, washed, ANGULAR stone or concrete only) | [7 empty] | Height (in) | 18 | 0 | 0 |  |  | 18 | 0 | 0 |  |  | totals | 0 | 0 | 0 | 0
[15 empty] | Non-woven Filter Fabric Required |  | 90.7653 |  |  | Square Yards | [12 empty] | Volume of Excavation (not including fill) | 4.9833 |  | Cubic Yards | [18 empty] | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[15 empty] | Stabilization Fabric |  |  | 1 |  | Pieces | [12 empty] | Non-woven Filter Fabric Required | 90.7653 |  | Square Yards |  |  | Width (in) | 38 | 53 | 44 |  |  | 38 | 53 | 44 |  |  | Max suggested number of rows |  |  |  | 0 | Required Storage | Default Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[15 empty] | Impervious Liner |  | 56.9522 |  |  | Square Yards | [12 empty] | Stabilization Fabric | 1 |  | Pieces |  |  | Installed Length (in) | 96 | 108 | 108 |  |  | 91.25 | 91.25 | 91.25 |  |  | Default number of rows |  |  |  | 0
[33 empty] | Impervious Liner | 56.9522 |  | Square Yards |  |  | Storage Volume (ft²) | 22.47 | -8.988 | -8.988 | 13.482 | 13.482 | 21.36 | -8.544 | -8.544 | 12.816 | 12.816 | Max number of chambers per Row |  |  |  | 0 | [8 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[38 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | Number of Full Rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 28.368 |  | 0
[40 empty] | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | Are there Rows with more chambers than other rows |  |  |  | no | [8 empty] | 1 |  | 1
[40 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Total Layer Storage Volume |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[50 empty] | Length of chamber row |  |  |  | 0 | [8 empty] | Actual
[50 empty] | Width of all chamber rows |  |  |  | 0
[39 empty] | Height (in) | 18 | 0 | 0 |  |  | 18 | 0 | 0 |  |  | Total Stone Storage | 0 | Total Chamber Storage |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
[39 empty] | Width (in) | 38 | 53 | 44 |  |  | 38 | 53 | 44 |  |  |  | total chambers |  |  | 0 | Volume of full end Row | Volume of Full Mid Row | number of full rows | number of full middle rows |  |  |  |  | 0 |  | 1
[39 empty] | Installed Length (in) | 96 | 108 | 108 |  |  | 91.25 | 91.25 | 91.25
[39 empty] | Storage Volume (ft²) | 22.47 | -8.988 | -8.988 | 13.482 | 13.482 | 21.36 | -8.544 | -8.544 | 12.816 | 12.816 | eCeR storage volume area of width-height |  |  | 215.712 | [9 empty] | Number of Full Rows |  | Number of chambers in partial row
[13 empty] | 11 1 2022 REV 1 | [24 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | eCeR Storage volume area of length-height |  |  | 439.5641 |  | 28.368 | 0 | 0 | 0
[50 empty] | eCmR storage volume area of width-height |  |  | 215.712 | [9 empty] | 0 |  | 0
[38 empty] | SedimenTrap |  | Installed Height (in) | Width (in) | Storage Width (in) | Length (in) | Storage Volume (ft²) |  |  | Total System Dimensions |  |  | eCmR Storage volume area of length-height |  |  | 529.4749 |  | Number of Sedimentraps (aka number of short rows) | Number of full rows | number of chambers in short rows | number of middle chambers in short row
[50 empty] | mCeR storage volume area of width-height |  |  | 242.6964
[40 empty] | 44 | 47 | 36 | 36 | 16.92 |  |  | Length | Width | Depth | mCeR storage volume area of length-height |  |  | 417.85 |  | 0 | 0 | 0 | 0
[50 empty] | mCmR storage volume area of width-height |  |  | 242.6964
[39 empty] | 134.5486 | [7 empty] | 10.4167 | 5.1667 | 0.03 | mCmR storage volume area of length-height |  |  | 503.3193
[44 empty] | 77.9522 | [12 empty] | number of sedimentraps | 0
[47 empty] | total chambers | [9 empty] | max number of rows | 0 | aka chosen number of rows
[40 empty] | 1.6146 | -20.8554 | [15 empty] | number of full rows | 0 | aka number of rows with max number of chambers
[47 empty] | start/end | middle | [8 empty] | number of R with min C | 0
[57 empty] | min C per row | 0
[40 empty] | 857 | [5 empty] | total volume | 1 | 0 | [8 empty] | max C per row | 0
[39 empty] | min stone below | 6 |  | 8.8333 | 13.8125 | 1.6875 | 26.0208 | 79.2528 | 22.47 | 0
[57 empty] | are there more than 15 rows | no | aka, is the inflow row above greater than 125ft |  | resulting number of sedimentraps
[42 empty] | 6.625 | 9 | 1.6875 | 34.625 | 157.205 | [14 empty] | 1
[57 empty] | are there less than 4 R | yes | aka are there less that 4 chambers in the inflow row above
[39 empty] | min stone above | 6
[39 empty] | max stone above | 192
[39 empty] | min average cover | 18
[39 empty] | max average cover | 192
[41 empty] | space between layers | 12 | [7 empty] | Imperial (inches and ft) | by system length |  |  |  | Layer 3 Calculation check
[39 empty] | space between rows | 6 | [9 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
[39 empty] | Cubic Yards | system spatial volume | chambers internal volume | stone spatial volume | [12 empty] | (Using Dimension Constraints)
[39 empty] | 1 layer | 4.9833 | 0.83222 | 4.1511 | [21 empty] | width of suggested rows | length of sugested number of C per R
|  |  |  | 18 |  | 34 | 44 | [43 empty] | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
|  |  | stone below min | 6 |  | 6 | 9 | [31 empty] | 2 layers | [10 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 5.1667 | 10.4167
|  |  | stone below max | 96 |  | 96 | 96 | [31 empty] | layer 2 | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | -2.3671 |  | 0 |  | 1
[39 empty] | total layers | 4.9833 | 0.83222 | 4.1511
|  |  | cover min | 18 |  | 18 | 22 | [43 empty] | 0 | 0 | 0 | 0 | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
|  |  | cover max | 192 |  | 192 | 96 | [31 empty] | 3 layers | [10 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
[39 empty] | layer 3 | 0 | 0 | 0 | [12 empty] | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
|  |  | space between layer | 12 |  | 12 | 12 | [31 empty] | total layers | 4.9833 | 0.83222 | 4.1511
[51 empty] | 0 | 0 | 0 | 0
|  |  | L1 min | 42 | 0 | 58 | 75 | [42 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | 14.184 | 0 |  | 1 | 1
|  |  | max | 306 | 0 | 322 | 236
|  |  | L2 min | 72 | 0 | 104 | 131 | [47 empty] | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
|  |  | max | 336 | 0 | 368 | 292 | [43 empty] | 0 | 0 | 0 | 0 | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
|  |  | L3 min | 102 | 0 | 150 | 187 | [42 empty] | totals | 0 | 0 | 0 | 0
|  |  | max | 366 | 0 | 414 | 348 | [55 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[50 empty] | Min suggested number of rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 28.368 |  | 0
|  |  |  | 457 |  | 864 | 1117 | [42 empty] | Default number of rows |  |  |  | 0 | [8 empty] | 1 |  | 1
|  |  | stone below min | 150 |  | 150 | 225 | [42 empty] | Max number of chambers per Row |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
|  |  | stone below max | 2400 |  | 2400 | 2400 | [42 empty] | Number of Full Rows |  |  |  | 0 | [8 empty] | Actual
[50 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | 0
|  |  | cover min | 450 |  | 450 | 550 | [42 empty] | Length of chamber row |  |  |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
|  |  | cover max | 4875 |  | 4875 | 2435 | [42 empty] | Width of all chamber rows |  |  |  | 0
[50 empty] | Total Stone Storage | 0 | Total Chamber Storage |  | 0 | [8 empty] | 0 |  | 1
|  |  | space between layers | 300 |  | 300 | 300 | [47 empty] | number of rows |  | 0
[51 empty] | total chambers |  |  | 0 | number of chambers per row |  | 1
|  |  | L1 min | 1057 |  | 1464 | 1892
|  |  | max | 7732 |  | 8139 | 5952 | [42 empty] | eCeR storage volume area of width-height |  |  | 215.712
|  |  | L2 min | 1814 |  | 2628 | 3309 | [42 empty] | eCeR Storage volume area of length-height |  |  | 439.5641
|  |  | max | 8489 |  | 9303 | 7369 | [42 empty] | eCmR storage volume area of width-height |  |  | 215.712
|  |  | L3 min | 2571 |  | 3792 | 4726 | [42 empty] | eCmR Storage volume area of length-height |  |  | 529.4749
|  |  | max | 9246 |  | 10467 | 8786
[50 empty] | mCeR storage volume area of width-height |  |  | 242.6964
[50 empty] | mCeR storage volume area of length-height |  |  | 417.85
[50 empty] | mCmR storage volume area of width-height |  |  | 242.6964
[50 empty] | mCmR storage volume area of length-height |  |  | 503.3193
[50 empty] | Imperial (inches and ft) | by system length |  |  |  | Layer 4 Calculation check
[50 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
(Using Dimension Constraints)
[64 empty] | width of suggested rows | length of sugested number of C per R
[51 empty] | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
[50 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 5.1667 | 10.4167
[55 empty] | 0 | 0 | 0 | -2.3671 |  | 0 |  | 1
[51 empty] | 0 | 0 | 0 | 0 | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
[50 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
[55 empty] | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
[51 empty] | 0 | 0 | 0 | 0
[50 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | 14.184 | 0 |  | 1 | 1
note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[51 empty] | 0 | 0 | 0 | 0 | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[50 empty] | totals | 0 | 0 | 0 | 0
[63 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[50 empty] | Min suggested number of rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 28.368 |  | 0
[50 empty] | Chosen number of rows |  |  |  | 0 | [8 empty] | 1 |  | 1
[50 empty] | Max number of chambers per Row |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[50 empty] | Number of Full Rows |  |  |  | 0 | [8 empty] | Actual
[50 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | 0
[50 empty] | Length of chamber row |  |  |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
[50 empty] | Width of all chamber rows |  |  |  | 0
[50 empty] | Total Stone Storage | 0 | Total Chamber Storage |  | 0 | [8 empty] | 0 |  | 1
[55 empty] | number of rows |  | 0
[51 empty] | total chambers |  |  | 0 | number of chambers per row |  | 1
Perimeter
Stone
Stone Layer Below
Stone Layer Above
Additional Cover Above System
Perimeter
Stone
STORMCHAMBER SYSTEM
Design calculator is for initial estimation or conceptual purposes.
Let NDS Designworx provide a complete system layout free of charge.

## Hidden list (hidden)
Imperial
Metric
SC-44 | SC-44
SC-34E
SC-18
yes
no
yes
no
Width
Length