## Imperial Staged Storage
StormChamber Staged Storage |  |  |  | IMPERIAL
Total Storage shown here may be less than the total storage shown on the StormChamber Product Calculator. Refer to the Product Calulator for actual total storage amount.
Project:
Engineer:
Location:
Date:
Choose Chamber Model |  |  | SC-44
Choose Measurement Type |  |  | Imperial | Metric |  |  |  |  | Chamber Dimensions |  | inches
[9 empty] | Height |  | 44
Total Number of Chambers |  |  | 1 | [5 empty] | Width |  | 76.25
Stone Void (Industry Standard is 40%) |  |  | 40% |  | Visit us at ndspro.com, or for assistance, contact us at (888) 825-4716 |  |  |  | Length |  | 75
Elevation of Stone Base (feet) |  |  | 0 | [5 empty] | Border width |  | 12
Stone Above Chambers (min. 12 inches; max. 96 inches) |  |  | 12
Stone Below Chambers (min. 9 inches) |  |  | 9 | [6 empty] | stone above min | 12
Space Between Rows (min. 9 inches) |  |  | 9 |  |  | FALSE |  |  |  | stone above max | 96
Total Number of Rows |  |  | 1 | [6 empty] | stone below min | 9
[10 empty] | space between min | 9
Height of System (inches) | Incremental Single Chamber (cubic feet) | Incremental Total Chambers (cubic feet) | Incremental Stone (cubic feet) | Incremental Chamber & Stone (cubic feet) |  | Cumulative Chamber & Stone (cubic feet) | Elevation (feet)
65 | 0 | 0 | 1.48 | 1.48 |  | 152.6 | 5.42 | 94 | 152.6 |  | 58.6
64 | 0 | 0 | 1.48 | 1.48 |  | 151.12 | 5.33 | 94 | 151.12
63 | 0 | 0 | 1.48 | 1.48 |  | 149.64 | 5.25 | 94 | 149.64
62 | 0 | 0 | 1.48 | 1.48 |  | 148.16 | 5.17 | 94 | 148.16
61 | 0 | 0 | 1.48 | 1.48 |  | 146.68 | 5.08 | 94 | 146.68
60 | 0 | 0 | 1.48 | 1.48 |  | 145.2 | 5 | 94 | 145.2
59 | 0 | 0 | 1.48 | 1.48 |  | 143.72 | 4.92 | 94 | 143.72
58 | 0 | 0 | 1.48 | 1.48 |  | 142.24 | 4.83 | 94 | 142.24
57 | 0 | 0 | 1.48 | 1.48 |  | 140.76 | 4.75 | 94 | 140.76
56 | 0 | 0 | 1.48 | 1.48 |  | 139.28 | 4.67 | 94 | 139.28
55 | 0 | 0 | 1.48 | 1.48 |  | 137.8 | 4.58 | 94 | 137.8
54 | 0 | 0 | 1.48 | 1.48 |  | 136.32 | 4.5 | 94 | 136.32
53 | 0.05 | 0.05 | 1.46 | 1.51 |  | 134.84 | 4.42 | 94 | 134.84
52 | 0.15 | 0.15 | 1.42 | 1.57 |  | 133.33 | 4.33 | 93.95 | 133.33
51 | 0.31 | 0.31 | 1.36 | 1.67 |  | 131.76 | 4.25 | 93.8 | 131.76
50 | 0.44 | 0.44 | 1.3 | 1.74 |  | 130.09 | 4.17 | 93.49 | 130.09
49 | 0.66 | 0.66 | 1.22 | 1.88 |  | 128.35 | 4.08 | 93.05 | 128.35
48 | 0.94 | 0.94 | 1.1 | 2.04 |  | 126.47 | 4 | 92.39 | 126.47
47 | 1.14 | 1.14 | 1.02 | 2.16 |  | 124.43 | 3.92 | 91.45 | 124.43
46 | 1.29 | 1.29 | 0.96 | 2.25 |  | 122.27 | 3.83 | 90.31 | 122.27
45 | 1.42 | 1.42 | 0.91 | 2.33 |  | 120.02 | 3.75 | 89.02 | 120.02
44 | 1.55 | 1.55 | 0.86 | 2.41 |  | 117.69 | 3.67 | 87.6 | 117.69
43 | 1.65 | 1.65 | 0.82 | 2.47 |  | 115.28 | 3.58 | 86.05 | 115.28
42 | 1.77 | 1.77 | 0.77 | 2.54 |  | 112.81 | 3.5 | 84.4 | 112.81
41 | 1.86 | 1.86 | 0.74 | 2.6 |  | 110.27 | 3.42 | 82.63 | 110.27
40 | 1.94 | 1.94 | 0.7 | 2.64 |  | 107.67 | 3.33 | 80.77 | 107.67
39 | 2.01 | 2.01 | 0.68 | 2.69 |  | 105.03 | 3.25 | 78.83 | 105.03
38 | 2.07 | 2.07 | 0.65 | 2.72 |  | 102.34 | 3.17 | 76.82 | 102.34
37 | 2.13 | 2.13 | 0.63 | 2.76 |  | 99.62 | 3.08 | 74.75 | 99.62
36 | 2.19 | 2.19 | 0.6 | 2.79 |  | 96.86 | 3 | 72.62 | 96.86
35 | 2.24 | 2.24 | 0.58 | 2.82 |  | 94.07 | 2.92 | 70.43 | 94.07
34 | 2.29 | 2.29 | 0.56 | 2.85 |  | 91.25 | 2.83 | 68.19 | 91.25
33 | 2.35 | 2.35 | 0.54 | 2.89 |  | 88.4 | 2.75 | 65.9 | 88.4
32 | 2.4 | 2.4 | 0.52 | 2.92 |  | 85.51 | 2.67 | 63.55 | 85.51
31 | 2.43 | 2.43 | 0.51 | 2.94 |  | 82.59 | 2.58 | 61.15 | 82.59
30 | 2.49 | 2.49 | 0.48 | 2.97 |  | 79.65 | 2.5 | 58.72 | 79.65
29 | 2.52 | 2.52 | 0.47 | 2.99 |  | 76.68 | 2.42 | 56.23 | 76.68
28 | 2.55 | 2.55 | 0.46 | 3.01 |  | 73.69 | 2.33 | 53.71 | 73.69
27 | 2.59 | 2.59 | 0.44 | 3.03 |  | 70.68 | 2.25 | 51.16 | 70.68
26 | 2.62 | 2.62 | 0.43 | 3.05 |  | 67.65 | 2.17 | 48.57 | 67.65
25 | 2.65 | 2.65 | 0.42 | 3.07 |  | 64.6 | 2.08 | 45.95 | 64.6
24 | 2.67 | 2.67 | 0.41 | 3.08 |  | 61.53 | 2 | 43.3 | 61.53
23 | 2.71 | 2.71 | 0.4 | 3.11 |  | 58.45 | 1.92 | 40.63 | 58.45
22 | 2.73 | 2.73 | 0.39 | 3.12 |  | 55.34 | 1.83 | 37.92 | 55.34
21 | 2.76 | 2.76 | 0.38 | 3.14 |  | 52.22 | 1.75 | 35.19 | 52.22
20 | 2.78 | 2.78 | 0.37 | 3.15 |  | 49.08 | 1.67 | 32.43 | 49.08
19 | 2.81 | 2.81 | 0.36 | 3.17 |  | 45.93 | 1.58 | 29.65 | 45.93
18 | 2.83 | 2.83 | 0.35 | 3.18 |  | 42.76 | 1.5 | 26.84 | 42.76
17 | 2.86 | 2.86 | 0.34 | 3.2 |  | 39.58 | 1.42 | 24.01 | 39.58
16 | 2.88 | 2.88 | 0.33 | 3.21 |  | 36.38 | 1.33 | 21.15 | 36.38
15 | 2.91 | 2.91 | 0.32 | 3.23 |  | 33.17 | 1.25 | 18.27 | 33.17
14 | 3.1 | 3.1 | 0.24 | 3.34 |  | 29.94 | 1.17 | 15.36 | 29.94
13 | 2.86 | 2.86 | 0.34 | 3.2 |  | 26.6 | 1.08 | 12.26 | 26.6
12 | 3.07 | 3.07 | 0.25 | 3.32 |  | 23.4 | 1 | 9.4 | 23.4
11 | 3.13 | 3.13 | 0.23 | 3.36 |  | 20.08 | 0.92 | 6.33 | 20.08
10 | 3.2 | 3.2 | 0.2 | 3.4 |  | 16.72 | 0.83 | 3.2 | 16.72
9 | 0 | 0 | 1.48 | 1.48 |  | 13.32 | 0.75 | 0 | 13.32
8 | 0 | 0 | 1.48 | 1.48 |  | 11.84 | 0.67 | 0 | 11.84
7 | 0 | 0 | 1.48 | 1.48 |  | 10.36 | 0.58 | 0 | 10.36
6 | 0 | 0 | 1.48 | 1.48 |  | 8.88 | 0.5 | 0 | 8.88
5 | 0 | 0 | 1.48 | 1.48 |  | 7.4 | 0.42 | 0 | 7.4
4 | 0 | 0 | 1.48 | 1.48 |  | 5.92 | 0.33 | 0 | 5.92
3 | 0 | 0 | 1.48 | 1.48 |  | 4.44 | 0.25 | 0 | 4.44
2 | 0 | 0 | 1.48 | 1.48 |  | 2.96 | 0.17 | 0 | 2.96
1 | 0 | 0 | 1.48 | 1.48 |  | 1.48 | 0.08 | 0 | 1.48
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
Include Perimeter Stone in Calculations

## Metric Staged Storage
StormChamber Staged Storage |  |  |  | METRIC
Total Storage shown here may be less than the total storage shown on the StormChamber Product Calculator. Refer to the Product Calulator for actual total storage amount.
Project:
Engineer:
Location:
Date:
Choose a Chamber Model |  |  | SC-18
Choose Measurement Type |  |  | Imperial | Metric |  |  |  |  | Chamber Dimensions | mm
[8 empty] | Height |  | 456.6
Total Number of Chambers |  |  | 1 |  |  |  |  | Width |  | 965
Stone Void (Industry Standard is 40%) |  |  | 40% |  | Visit us at ndspro.com, or for assistance, contact us at (888) 825-4716 |  |  | Length |  | 2318
Elevation of Stone Base (meters) |  |  | 0 |  |  |  |  | Border width |  | 300
Stone Above Chambers (min. 150 mm; max. 4875) |  |  | 150
Stone Below Chambers (min. 150 mm) |  |  | 150 | [5 empty] | stone above min | 150
Space Between Rows (min. 150 mm) |  |  | 150 |  |  | FALSE |  |  | stone above max | 4875
Total Number of Rows |  |  | 1 | [5 empty] | stone below min | 150
[9 empty] | space between min | 150
Height of System (mm) | Incremental Single Chamber (cubic meters) | Incremental Total Chambers (cubic meters) | Incremental Stone (cubic meters) | Incremental Chamber & Stone (cubic meters) |  | Cumulative Chamber and Stone (cubic meters) | Elevation (meters)
756.6 | 0 | 0 | 0.0263 | 0.0263 |  | 1.17 | 0.76
731.2 | 0 | 0 | 0.0263 | 0.0263 |  | 1.14 | 0.73
705.8 | 0 | 0 | 0.0263 | 0.0263 |  | 1.11 | 0.71
680.4 | 0 | 0 | 0.0263 | 0.0263 |  | 1.08 | 0.68
655 | 0 | 0 | 0.0263 | 0.0263 |  | 1.05 | 0.66
629.6 | 0 | 0 | 0.0238 | 0.0238 |  | 1.02 | 0.63
606.6 | 0.0017 | 0.0017 | 0.0256 | 0.0273 |  | 1 | 0.61
581.2 | 0.0066 | 0.0066 | 0.0236 | 0.0302 |  | 0.97 | 0.58
555.8 | 0.0122 | 0.0122 | 0.0214 | 0.0336 |  | 0.94 | 0.56
530.4 | 0.02 | 0.02 | 0.0183 | 0.0383 |  | 0.91 | 0.53
505 | 0.0256 | 0.0256 | 0.016 | 0.0416 |  | 0.87 | 0.51
479.6 | 0.0297 | 0.0297 | 0.0144 | 0.0441 |  | 0.83 | 0.48
454.2 | 0.0328 | 0.0328 | 0.0131 | 0.0459 |  | 0.79 | 0.45
428.8 | 0.0354 | 0.0354 | 0.0121 | 0.0475 |  | 0.74 | 0.43
403.4 | 0.0374 | 0.0374 | 0.0113 | 0.0487 |  | 0.69 | 0.4
378 | 0.0393 | 0.0393 | 0.0105 | 0.0498 |  | 0.64 | 0.38
352.6 | 0.0408 | 0.0408 | 0.0099 | 0.0507 |  | 0.59 | 0.35
327.2 | 0.0422 | 0.0422 | 0.0094 | 0.0516 |  | 0.54 | 0.33
301.8 | 0.0434 | 0.0434 | 0.0089 | 0.0523 |  | 0.49 | 0.3
276.4 | 0.0446 | 0.0446 | 0.0084 | 0.053 |  | 0.44 | 0.28
251 | 0.0458 | 0.0458 | 0.0079 | 0.0537 |  | 0.39 | 0.25
225.6 | 0.0472 | 0.0472 | 0.0074 | 0.0546 |  | 0.34 | 0.23
200.2 | 0.0485 | 0.0485 | 0.0069 | 0.0554 |  | 0.29 | 0.2
174.8 | 0.0514 | 0.0514 | 0.0051 | 0.0565 |  | 0.23 | 0.17
150 | 0 | 0 | 0.0263 | 0.0263 |  | 0.17 | 0.15
124.6 | 0 | 0 | 0.0263 | 0.0263 |  | 0.14 | 0.12
99.2 | 0 | 0 | 0.0263 | 0.0263 |  | 0.11 | 0.1
73.8 | 0 | 0 | 0.0263 | 0.0263 |  | 0.08 | 0.07
48.4 | 0 | 0 | 0.0263 | 0.0263 |  | 0.05 | 0.05
23 | 0 | 0 | 0.0238 | 0.0238 |  | 0.02 | 0.02
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 0 | 0 | 0 | 0 |  | 0 | 0
Include Perimeter Stone in Calculations

## List (hidden)
SC-44 |  | note: best way to include the start and ends is to have a separate column for start/end chambers
SC-34E | SC-44
SC-34W | SC-34W
SC-18
Imperial
Metric
No
Yes